## Ref. Costs Cambridge
Cost (£) per kWh Electricity | 0.1
Tonnes CO2 from Electricity | 0.00034885
Cost/T/CO2 | 18

## Old Units at Cambridge
Unit | Manufacturer | L | Location | (kWh/hr) | (kWh/day) | (kWh/year) | Electricity (£) 1 Yr | CO2 t/yr | W/L | CO2 cost (£) | Total Cost/yr (£) | Timer? | Comments
D6 | LEEC | 570 | 219 | 0.885 | 21.24 | 7752.6 | 775.26 | 2.7045 | 37.2632 | 48.6809 | 823.9409 |  | Unit set on 2/5
D34 | LEEC | 176 | Dominick Lab | 0.739 | 17.736 | 6473.64 | 647.364 | 2.2583 | 100.7727 | 40.6499 | 688.0139 | y
D37 | LEEC | 176 | 354 | 0.739 | 17.736 | 6473.64 | 647.364 | 2.2583 | 100.7727 | 40.6499 | 688.0139 | y
D21 | Unknown | 74 | 180 | 0.678 | 16.272 | 5939.28 | 593.928 | 2.0719 | 219.8919 | 37.2945 | 631.2225 |  | Unit set on LOW
D4 | LTE | 95 | 202/201 | 0.667 | 16.008 | 5842.92 | 584.292 | 2.0383 | 168.5053 | 36.6894 | 620.9814 |  | Unit on middle setting
D15 | Lincat | 64 | 180 | 0.661 | 15.864 | 5790.36 | 579.036 | 2.02 | 247.875 | 36.3594 | 615.3954 | y | Unit set on 120C
D14 | Lincat | 64 | 106 | 0.631 | 15.144 | 5527.56 | 552.756 | 1.9283 | 236.625 | 34.7092 | 587.4652 | y
D47 | LTE | 95 | North 2nd Floor | 0.625 | 15 | 5475 | 547.5 | 1.91 | 157.8947 | 34.3792 | 581.8792
D3 | LTE | 95 | 220 Spring | 0.615 | 14.76 | 5387.4 | 538.74 | 1.8794 | 155.3684 | 33.8291 | 572.5691 | y
D49 | LTE | 95 | Melville lab | 0.576 | 13.824 | 5045.76 | 504.576 | 1.7602 | 145.5158 | 31.6838 | 536.2598
D48 | LTE | 95 | Melville lab | 0.569 | 13.656 | 4984.44 | 498.444 | 1.7388 | 143.7474 | 31.2988 | 529.7428
D46 | Lincat | 58 | B72 | 0.552 | 13.248 | 4835.52 | 483.552 | 1.6869 | 228.4138 | 30.3637 | 513.9157 |  | Unit very hot
D54 | LEEC | 173 | 214 | 0.516 | 12.384 | 4520.16 | 452.016 | 1.5769 | 71.5838 | 28.3834 | 480.3994 |  | Unit set on 6/10
D25 | LEEC | 102 | 320 | 0.469 | 11.256 | 4108.44 | 410.844 | 1.4332 | 110.3529 | 25.7981 | 436.6421 | y | Unit set on 2, very hot though
D22 | Corsair | 98 | 318 | 0.467 | 11.208 | 4090.92 | 409.092 | 1.4271 | 114.3673 | 25.6881 | 434.7801 | y | Unit set on 2/5
D12 | LEEC | 81 | 112 | 0.466 | 11.184 | 4082.16 | 408.216 | 1.4241 | 138.0741 | 25.6331 | 433.8491 | y | Unit set on 4.
D26 | LEEC | 102 | Dominick Lab | 0.46 | 11.04 | 4029.6 | 402.96 | 1.4057 | 108.2353 | 25.3031 | 428.2631 | y | Set on FULL but very cold
D16 | Lincat | 64 | 180 | 0.452 | 10.848 | 3959.52 | 395.952 | 1.3813 | 169.5 | 24.863 | 420.815
D32 | Corsair | 95 | Dominick Lab | 0.416 | 9.984 | 3644.16 | 364.416 | 1.2713 | 105.0947 | 22.8828 | 387.2988 | y | Set on LOW
D38 | LEEC | 101 | B103 | 0.409 | 9.816 | 3582.84 | 358.284 | 1.2499 | 97.1881 | 22.4977 | 380.7817
D11 | Lincat | 64 | 122 | 0.396 | 9.504 | 3468.96 | 346.896 | 1.2101 | 148.5 | 21.7826 | 368.6786 |  | Unit set on full
D2 | Lincat | 60 | 226 Spring | 0.383 | 9.192 | 3355.08 | 335.508 | 1.1704 | 153.2 | 21.0676 | 356.5756 | y
D7 | LEEC | 94 | 289A | 0.345 | 8.28 | 3022.2 | 302.22 | 1.0543 | 88.0851 | 18.9773 | 321.1973 |  | Unit set on 4/5
D1 | Lincat | 50 | 231 Spring | 0.339 | 8.136 | 2969.64 | 296.964 | 1.036 | 162.72 | 18.6473 | 315.6113
D57 | Lincat | 58 | 214 | 0.336 | 8.064 | 2943.36 | 294.336 | 1.0268 | 139.0345 | 18.4822 | 312.8182 |  | Unit set on low
D8 | Corsair | 80 | 122 | 0.333 | 7.992 | 2917.08 | 291.708 | 1.0176 | 99.9 | 18.3172 | 310.0252 |  | Unit set on full
D13 | LEEC | 81 | 112 | 0.326 | 7.824 | 2855.76 | 285.576 | 0.99623 | 96.5926 | 17.9322 | 303.5082 | y | Unit set on 4.
D10 | LTE | 80 | 122 | 0.289 | 6.936 | 2531.64 | 253.164 | 0.88316 | 86.7 | 15.8969 | 269.0609 |  | Very cold but set on 3/10
D41 | Unknown | 57 | 318 | 0.267 | 6.408 | 2338.92 | 233.892 | 0.81593 | 112.4211 | 14.6868 | 248.5788 |  | Unit set on 5/6
D5 | LEEC | 90 | 202/201 | 0.265 | 6.36 | 2321.4 | 232.14 | 0.80982 | 70.6667 | 14.5768 | 246.7168 |  | On lowest setting
D33 | LEEC | 102 | Dominick Lab | 0.242 | 5.808 | 2119.92 | 211.992 | 0.73953 | 56.9412 | 13.3116 | 225.3036 |  | Unit set on 75C
D42 | LEEC | 93 | 318 | 0.122 | 2.928 | 1068.72 | 106.872 | 0.37282 | 31.4839 | 6.7108 | 113.5828 |  | Unit set on full
D53 | LEEC | 93 | 214 | 0.122 | 2.928 | 1068.72 | 106.872 | 0.37282 | 31.4839 | 6.7108 | 113.5828
D9 | LTE | 80 | 122 | 0.116 | 2.784 | 1016.16 | 101.616 | 0.35449 | 34.8 | 6.3808 | 107.9968 |  | Very cold unit set on 9/10
D51 | LTE | 150 | 263 | 0.089 | 2.136 | 779.64 | 77.964 | 0.27198 | 14.24 | 4.8956 | 82.8596
D50 | Sciquip | 85 | 263 | 0.082 | 1.968 | 718.32 | 71.832 | 0.25059 | 23.1529 | 4.5105 | 76.3425

## E3 Costs, Savings,Payback
Replacement Usage (Hours/Day) | 12
Replacment Usage (Days/Year) | 240
Unit | Manufacturer | L | (kWh/hr) | (kWh/day) | (kWh/year) | Electricity (£) 1 Yr | CO2 t/yr | CO2 cost (£) | Total Cost/yr (£) | Units Bought | UB (kWh/day) | UB (kWh/year) | UB Electricity (£) 1 Yr | UB CO2 t/yr | UB CO2 cost (£) | UB Total Cost/yr (£)
GENLE3DWC100/N | Genlab | 100 | 0.23167 | 2.78 | 667.2 | 66.72 | 0.23275 | 4.1895 | 70.9095 | 26 | 72.28 | 17347.2002 | 1734.72 | 6.0516 | 108.9283 | 1843.6483
GENLE3DWC200/N | Genlab | 200 | 0.36042 | 4.325 | 1038 | 103.8 | 0.36211 | 6.5179 | 110.3179 | 5 | 21.625 | 5190 | 519 | 1.8105 | 32.5896 | 551.5896
GENLE3DWC200/F | Genlab | 200 | 0.54042 | 6.485 | 1556.4 | 155.64 | 0.54295 | 9.7731 | 165.4131 | 1 | 6.485 | 1556.4 | 155.64 | 0.54295 | 9.7731 | 165.4131
GENLE3DWC425/F | Genlab | 425 | 0.76333 | 9.16 | 2198.3999 | 219.84 | 0.76691 | 13.8044 | 233.6444 | 1 | 9.16 | 2198.3999 | 219.84 | 0.76691 | 13.8044 | 233.6444
Old Units Total kWh/Yr | 137041.44
Old Uniits kWh (£)/Yr | 13704.144
Old Units TCO2/Yr | 47.8069
Old Units TCO2(£)/Yr | 860.5243
Old Units kWh & TCO2 (£)/Yr | 14564.6683
E3 Units Total kWh/Yr | 26292.0002
E3 Uniits kWh (£)/Yr | 2629.2
E3 Units TCO2/Yr | 9.172
E3 Units TCO2(£)/Yr | 165.0954
E3 Units kWh & TCO2 (£)/Yr | 2794.2954
Saved Total kWh/Yr | 110749.4398
Saved kWh (£)/Yr | 11074.944
Saved TCO2/Yr | 38.6349
Saved TCO2(£)/Yr | 695.429
Saved kWh & TCO2 (£)/Yr | 11770.3729
Price of replacements + disposal | 35740
Payback (Yrs) kWh only | 3.2271
Payback (Yrs) kWh & TCO2 | 3.0364

## Calculator
Current Units Usage (Hours/Day) | 24 | Cost (£) per kWh Electricity | 0.1
Current Units Usage (Days/Year) | 365 | Tonnes CO2 from Electricity | 0.00034885
Replacement Genlab Usage (Hours/Day) | 16 | Cost/T/CO2 | 18
Replacment Genlab Usage (Days/Year) | 240
Current Units
Unit | Manufacturer | L | (kWh/hr) | (kWh/day) | (kWh/year) | Electricity (£) 1 Yr | CO2 t/yr | CO2 cost (£) | Total Cost/yr (£) | Units Owned | UO (kWh/day) | UO (kWh/year) | UO Electricity (£) 1 Yr | UO CO2 t/yr | UO CO2 cost (£) | UO Total Cost/yr (£)
Example | Acme | 100 | 0.468 | 11.232 | 4099.68 | 409.968 | 1.4302 | 25.7431 | 435.7111 | 20 | 224.64 | 81993.6 | 8199.36 | 28.6035 | 514.8624 | 8714.2224
Example | Acme | 200 | 0.9 | 21.6 | 7884 | 788.4 | 2.7503 | 49.506 | 837.906 | 12 | 259.2 | 94608 | 9460.8 | 33.004 | 594.072 | 10054.872
Example | Acme | 500 | 1.211 | 29.064 | 10608.36 | 1060.836 | 3.7007 | 66.6131 | 1127.4491 | 1 | 29.064 | 10608.36 | 1060.836 | 3.7007 | 66.6131 | 1127.4491
Example | Acme | 1000 | 2.897 | 69.528 | 25377.72 | 2537.772 | 8.853 | 159.3543 | 2697.1263 | 3 | 208.584 | 76133.16 | 7613.316 | 26.5591 | 478.063 | 8091.379
Example | Acme | 100 | 0.399 | 9.576 | 3495.24 | 349.524 | 1.2193 | 21.9477 | 371.4717 | 21 | 201.096 | 73400.04 | 7340.004 | 25.6056 | 460.9009 | 7800.9049
Example | Acme | 200 | 0.982 | 23.568 | 8602.32 | 860.232 | 3.0009 | 54.0165 | 914.2485 | 4 | 94.272 | 34409.28 | 3440.928 | 12.0037 | 216.0662 | 3656.9942
Example | Acme | 500 | 1.321 | 31.704 | 11571.96 | 1157.196 | 4.0369 | 72.6638 | 1229.8598 | 4 | 126.816 | 46287.84 | 4628.784 | 16.1475 | 290.6552 | 4919.4392
Genlab Units
Unit | Manufacturer | L | (kWh/hr) | (kWh/day) | (kWh/year) | Electricity (£) 1 Yr | CO2 t/yr | CO2 cost (£) | Total Cost/yr (£) | Units Bought | UB (kWh/day) | UB (kWh/year) | UB Electricity (£) 1 Yr | UB CO2 t/yr | UB CO2 cost (£) | UB Total Cost/yr (£)
GENLE3DWC100/N | Genlab | 100 | 0.23167 | 3.7067 | 889.6 | 88.96 | 0.31034 | 5.5861 | 94.5461 | 41 | 151.9733 | 36473.6005 | 3647.3601 | 12.7238 | 229.0287 | 3876.3887
GENLE3DWC100/F | Genlab | 100 | 0.34792 | 5.5667 | 1336 | 133.6 | 0.46606 | 8.3891 | 141.9891 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GENLE3DWC200/N | Genlab | 200 | 0.36042 | 5.7667 | 1384 | 138.4 | 0.48281 | 8.6906 | 147.0906 | 16 | 92.2667 | 22144.0002 | 2214.4 | 7.7249 | 139.0488 | 2353.4488
GENLE3DWC200/F | Genlab | 200 | 0.54042 | 8.6467 | 2075.2 | 207.52 | 0.72393 | 13.0308 | 220.5508 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GENLE3DWC425/N | Genlab | 425 | 0.55292 | 8.8467 | 2123.2 | 212.32 | 0.74068 | 13.3322 | 225.6522 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GENLE3DWC425/F | Genlab | 425 | 0.76333 | 12.2133 | 2931.2 | 293.12 | 1.0225 | 18.4059 | 311.5259 | 5 | 61.0667 | 14655.9999 | 1465.6 | 5.1127 | 92.0294 | 1557.6294
GENLE3DWC885/F | Genlab | 885 | 1.1325 | 18.12 | 4348.8 | 434.88 | 1.5171 | 27.3074 | 462.1874 | 3 | 54.36 | 13046.4 | 1304.64 | 4.5512 | 81.9223 | 1386.5623
Old Units Total kWh/Yr | 417440.28
Old Uniits kWh (£)/Yr | 41744.028
Old Units TCO2/Yr | 145.624
Old Units TCO2(£)/Yr | 2621.2328
Old Units kWh & TCO2 (£)/Yr | 44365.2608
E3 Units Total kWh/Yr | 86320.0007
E3 Uniits kWh (£)/Yr | 8632.0001
E3 Units TCO2/Yr | 30.1127
E3 Units TCO2(£)/Yr | 542.0292
E3 Units kWh & TCO2 (£)/Yr | 9174.0292
Saved Total kWh/Yr | 331120.2793
Saved kWh (£)/Yr | 33112.0279
Saved TCO2/Yr | 115.5113
Saved TCO2(£)/Yr | 2079.2036
Saved kWh & TCO2 (£)/Yr | 35191.2315
Price of replacements + disposal | 92500
Payback (Yrs) kWh only | 2.7935
Payback (Yrs) kWh & TCO2 | 2.6285